IE1-S-6-M-B35D-1-4-D-P--0000X

E	Output signal: 4-20mA

1	Version: Rigid + flexible stem

S	Mechanics: Single Floating

6	Connector: 6 pin

M	Accuracy class: 0.5% FS

B35D	Measurement range: 0-350 bar

1	Threading: ½ - 20 UNF

4	Rigid stem length: 153mm (6“)

D	Flexible stem length: 457mm (18“)

P	Performance Level c

-	Magnetic Autozero

0000X	No relay

Connector 6 pin – VPT07RA10-6PT (PT02A-10-6P)