|  | TECHNICAL ASSIGNMENT FOR SERVICES PROCUREMENT |
| --- | --- |

| Title of Technical Assignment for service procurement: | Calibration of the laboratory press manufactured by Monthec LP 3000-1000kN |
| --- | --- |
| Client (Block/Function): | Petrohemija Laboratory/FSK Laboratory |

TABLE OF CONTENTS

1.	TECHNICAL ASSIGNMENT CLASSIFICATION	2

2.	SCOPE OF TECHNICAL ASSIGNMENT AND LOCATION	2

3.	DESCRIPTION OF AS-IS STATE	2

4.	GENERAL PROVISIONS	2

5.	SCOPE OF SERVICE AND TECHNICAL DESCRIPTION	3

6.	TECHNICAL REQUIREMENTS	3

7.	RIGHTS, OBLIGATIONS AND RESPONSIBILITIES OF THE SERVICE PROVIDER	3

8.	SERVICE COMPLETION DEADLINE AND TIMELINE	3

9.	SERVICE QUALITY REQUIREMENTS AND QUALITY CONTROL METHOD	3

10.	SERVICE ACCEPTANCE	3

11.	WARRANTY PERIOD	3

12.	PRICE - BILL OF QUANTITIES AND BILL OF MATERIALS	3

13.	HSE	4

14.	APPROVAL OF TECHNICAL ASSIGNMENT	5

15.	APPROVERS - DiNIS	5

- TECHNICAL ASSIGNMENT CLASSIFICATION

| The Technical Assignment envisages the procurement of a service with an IT component | No |
| --- | --- |

| 1.5 Technical Assignment for the provision of other services |  |
| --- | --- |
| The Client is in possession of certain technical documentation: | No |
| The service defined under the Technical Assignment will be contracted in accordance with the following principle: | - According to precisely defined volumes, unit prices, measurement units, and payment by actually completed quantities. |

- SCOPE OF TECHNICAL ASSIGNMENT AND LOCATION

Calibration and preventive maintenance of laboratory press with the issuance of a service report of services manufactured by MonTech Werkstoffprüfmaschinen GmbH. Calibration and preventive maintenance of equipment are performed at the location of the synthetic rubber factory, Elemir. The device has been installed in the premises of the FSK Laboratory.

- DESCRIPTION OF AS-IS STATE

The laboratory press of the LP 3000-1000 kN type was installed in 2025 by an authorized service of the manufacturer MonTech Werkstoffprüfmaschinen GmbH. The ongoing maintenance of this device includes regular preventive maintenance and calibration once a year by authorized representatives Service technicians from MonTech Werkstoffprüfmaschinen GmbH, Germany.

| Prior to submitting their Bids, Bidders are required to visit the site where the relevant service will be delivered and to present, along with the tender documentation, a site visit confirmation, signed by the responsible person of the Client: | No |
| --- | --- |

- GENERAL PROVISIONS

Maintenance and calibration of the laboratory press of the LP 3000-1000 kN type is carried out in accordance with the recommendations of the manufacturer MonTech Werkstoffprüfmaschinen GmbH and valid international standards. Regular preventive maintenance and calibration are aimed at ensuring reliable, repeatable and safe operation of devices, as well as accuracy and traceability of measurement results.

SCOPE OF SERVICE AND TECHNICAL DESCRIPTION

Regular preventive maintenance and calibration of the laboratory press LP 3000-1000 kN includes inspection, checking and calibration of all relevant mechanical, electrical and hydraulic systems, including temperature check, closing force and parallelism of heating plates. After the completed activities, a service and calibration report is issued, as well as a calibration certificate in accordance with DIN EN ISO/IEC 17025.

NOTE: The calibration standards and consumables to be used during the service provision shall be provided by the service provider.

TECHNICAL REQUIREMENTS

The service includes the issuance of the Calibration Report.

- RIGHTS, OBLIGATIONS AND RESPONSIBILITIES OF THE SERVICE PROVIDER

The service provider shall service the equipment in the Client's laboratory:

| Petrohemija laboratory | Address |
| --- | --- |
| FSK laboratory | Industrial road 13, Elemir |

- SERVICE COMPLETION DEADLINE AND TIMELINE

The service shall be completed no later that 31 December 2026.

- SERVICE QUALITY REQUIREMENTS AND QUALITY CONTROL METHOD

The inspection and calibration of the device of the laboratory press type LP 3000-1000 kN is carried out with the quality control of service by the internal expert supervision from the instrumental maintenance service.

- SERVICE ACCEPTANCE

After the on-site service is performed, the service provider is obliged to prove the work performance of the calibrated equipment and submit the service report electronically.

11. WARRANTY PERIOD

The warranty period for the service is at least 6 months.

12.TECHNICAL QUALIFICATION CRITERIA

| R.b. | Technical Qualification Criteria (TQC) | Supporting documentation (This is the same as the required TQC) |
| --- | --- | --- |
| 1. | The contractor must be an authorized service technician for the equipment in question. | Certificate of authorization / proof of manufacturer's authorization that the provider is an authorized service provider. |

13. PRICE - BILL OF QUANTITIES AND BILL OF MATERIALS

| BILL OF MATERIALS AND BILL OF QUANTITIES/SERVICE SPECIFICATION/ |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| R.b. | Position description | Unit of measure | Quantity | Unit price | Total |
| 1. | Calibration and preventive maintenance of LP 3000-1000 kN press | pcs | 1 |  |  |
| 2. | Travelling expenses | departure/arrival | 1 |  |  |
| Total: |  |  |  |  |  |

14 HSE

14.1 Determining HSE risk levels

| R. No. | Services | Taxonomy code | Taxonomy description | Hazard risk assessment (L, M, H) |
| --- | --- | --- | --- | --- |
| 1. | Calibration and preventive maintenance of LP 3000-1000 kN press | S521900 | Calibration and inspection of laboratory equipment | 1 (L) low risk |

The final level of HSE risk - refers to the subject of procurement as a whole:

- low risk (L);

14.2 Designation of responsible persons in the process of HSE contractor management

The Sole Responsible Person (SRP or "SRP") is Vanja Čorokalo, Head of the FSK laboratory

The person responsible for coordination and enforcement of the HSE Agreement in the Company, TFU-328 the contractual document (NЅE Officer) is Jaroslav Zbroik, OHS Risk Management Expert.

15.APPROVAL OF TECHNICAL ASSIGNMENT

The Contractor shall submit a signed and stamped statement  by the Contractor's authorised person, on the acceptance of all terms and conditions defined herein.

16.APPROVERS - DiNIS

| Authorized persons | Full name |
| --- | --- |
| Technical Assignment Author | Vanja Čorokalo |
| Project Manager | Branka Mijušković |
| Person responsible for HSE | Vladimir Stefanović |
| Representative of IT Department and Representative of Corporate Security Function, Information Protection Sector, if the Теchnical Assignment refers to the procurement of service which involves IT component, i.e. if it has an impact on the personal data protection | … |
| Person responsible for EnMS if the procurement of services is subject to the energy efficiency criteria and requirements | … |
| Representative of Environmental Protection Sector, HSE Function, if the procurement of services is associated with hazard wastes disposal | … |