|  | TECHNICAL ASSIGNMENT (SERVICES) |
| --- | --- |

| Title of the Technical Assignment for the procurement of services: | Instrumental survey and diagram actualization of the HIPP Pancevo condensate system with the formation of recommendations for improving efficiency based on a calculated mathematical model of its operation |
| --- | --- |
| Client (Block/Function): | HIP-Petrohemija |

C O N T E N T S

1.	TECHNICAL ASSIGNMENT CLASSIFICATION	2

2.	SUBJECT OF THE TECHNICAL ASSIGNMENT AND LOCATION	2

3.	DESCRIPTION OF THE EXISTING STATE	2

4.	GENERAL PROVISIONS	3

5.	SCOPE OF SERVICES AND TECHNICAL DESCRIPTION	3

6.	TECHNICAL REQUIREMENTS	5

7.	CLIENT'S RIGHTS, OBLIGATIONS, AND RESPONSIBILITIES	6

8.	CONTRACTOR'S RIGHTS, OBLIGATIONS, AND RESPONSIBILITIES	6

9.	BASIS FOR THE SERVICE COMMENCEMENT	7

10.	SERVICE COMPLETION DEADLINE AND SCHEDULE	7

11.	SERVICE QUALITY REQUIREMENTS AND METHOD OF QUALITY CONTROL	7

12.	REPORTING	7

13.	SERVICE ACCEPTANCE	7

14.	WARRANTY PERIOD	8

15.	TECHNICAL QUALIFICATION CRITERIA	8

16.	PRICE – BILL OF QUANTITIES FOR MATERIALS AND WORK	9

17.	HSE	9

18.	APPROVAL OF THE TECHNICAL ASSIGNMENT	9

19.	ADDITIONAL NOTES	10

20.	APPENDICES	10

21.	APPROVERS – DiNIS	10

- TECHNICAL ASSIGNMENT CLASSIFICATION

| The Technical Assignment involves the procurement of a service with an IT component | No |
| --- | --- |

1.5 Technical Assignment for the service of engagement of expert supervision

| 1.4 Technical Assignment for consulting/engineering service |  |
| --- | --- |
| The Client is in possession of certain technical documentation: | Yes (see Paragraph 3) |
| The service under the Technical Assignment shall be carried out in accordance with the following principle: | A set of services (lump sum). |

- SUBJECT OF THE TECHNICAL ASSIGNMENT AND LOCATION

The scope of the technical assignment is the development and update of the scheme of the condensate system in Clients facilities, with the formation of recommendations for increasing efficiency based on the calculated mathematical model of its operation.

The goal of the technical assignment is to obtain the accurate, updated scheme of the condensate system in Clients facilities, as well as functional mathematical model of its operation.

The location of work is: Petrochemical facility in Pančevo 26000, Street Spoljnostarčevačka 82, Republic of Serbia.

- DESCRIPTION OF THE EXISTING STATE

The energy consumption in petrochemical plant (HIPP) located in Pančevo 26000, Spoljnostarčevačka 82, is tracked and monitored across 5 organizational units:

- Ethylene plant

- Polyethylene plant (consists of LDPE and HDPE facilities)

- Utility plant

- Waste water treatment plant and

- Administration and support

With the Utility plant (Energetika) as the primary source of steam production, and other organizational units as primary steam consumers. The steam system of HIPP is currently being updated and mathematical model is in development. The available documentation of the steam system shall be provided to the Contractor, at soon as possible. The condensate system itself is poorly documented, with the available scheme given in Annex 01 through Annex 04. Additional documentation containing P&IDs of the Clients facilities shall be provided after the Non-Disclosure Agreement is signed.

During the visit to the location HIPP Pancevo Service Provider will discuss the operation of the HIPP, additional information can be requested from the plant personnel.

| Prior to submitting the bid, the Bidder shall visit the location where the service is to be delivered and present, along with the tender documentation, a site visit confirmation, signed by the responsible person of the Client: | Yes |
| --- | --- |

- GENERAL PROVISIONS

This study will be performed from the home office of Service Provider. Personal visits to Serbia are required for Kick-off meeting, HIPP visit, instrumental survey and the final meeting. Therefore, Service Provider must comply with all laws, by-laws, and regulations of its home office location. During visits to the HIPP, all laws by-laws, and regulations of the Republic of Serbia shall apply.

Confidential data mentioned in paragraph 3 will be exchanged through the secure portal based on signed Non-Disclosure Agreement between Client and Service Provider.

- SCOPE OF SERVICES AND TECHNICAL DESCRIPTION

Phase 1: Data collection and documental survey.

- Analysis of the long-term development plans of HIPP Pancevo in order to establish the planned loads.

- Development of detailed schemes for the distribution steam condensate, with the indication of all connected sources of condensate and its collection points.

- Analysis of the characteristics and condition of the equipment for condensate circulation, and connection of these equipment with Clients facilities.

- Identification, analysis and description of factors (external and internal: including outside air temperature) influencing the amount of produced steam condensate.

- Identification of critical components of steam condensate system with highest condensate generation capacity.

- Collection of statistical data on the production and consumption of steam condensate.

- Analysis of data on the operation of the surveyed facilities, based on materials received from the Client during the visit:

- operating manuals for the system;

- layout diagram and flow diagram of the system;

- material balance of the system;

- DCS diagrams (screenshots of operator screens);

- composition and characteristics of flows;

- passports of heat exchange equipment, pumps, cooling towers, pipe-lines etc;

- up-to-date data on the operating mode of the production being surveyed at the time of instrumental measurements.

- Phase 1 report with an assessment of the sufficiency of the collected information, a preliminary assessment of production efficiency indicators and the use of steam condensate.

Phase 2: Instrumental survey

- Verification of power supply diagrams indicating installation locations of shut-off and control valves.

- Determination of actual thermal loads of facilities, schedules and control methods.

- Hi-level assessment of the efficiency of production and recirculation of steam condensate.

- Carrying out instrumental measurements using stationary (standard) and portable specialized measuring instruments:

- lengths, distances, height differences, diameters, etc.

- initial and final temperatures of process flow (if it’s necessary);

- temperatures of return condensate in heat exchangers;

- temperatures of open sections of heat exchangers and pipelines.

- Drawing up an up-to-date diagram of the steam condensate system HIPP Pancevo for the development of a computer model.

- Validation of data obtained as a result of instrumental measurements with the Client.

- Phase report describing the system operating mode at the time of the survey, containing current data on lengths, distances, flow rates and temperatures, as well as all other technological parameters necessary and sufficient for developing the actual scheme and calculated computer model of the HIPP Pancevo steam condensate system.

Phase 3: Modelling.

- Drawing up calculation schemes for the production and use of steam condensate.

- Compilation of object-by-object and consolidated balances of production and use of steam condensate.

- Carrying out thermal and hydraulic calculations of main pipelines and consumer pipelines.

- Development of the computer model of in the Zulu software platform of the existing steam condensate system of HIPP Pancevo.

- Development of the user instructions (guide) for the developed computer model of the existing steam condensate system of HIPP Pancevo.

- Detailed training of the Clients employees (at least three of the Clients employees) in the development, modification, addition and updating of the developed model of the existing steam condensate system of HIPP Pancevo.

Phase 4: Recommendations for improvements.

- Formulation of feasable technological, design and/or other solutions to reduce the volume of wasted (dirty or not-recycled) steam condensate.

- Development and calculation of recommendations for increasing the energy efficiency of the existing steam condensate system of HIPP Pancevo based on the use of the developed computer model.

- Delivery of technical proposals for improvement of the computer model in Zulu software, with additional instrumentation and sensors for collecting actual flow and temperature values, with the recommendations for proper placements (with diagrams) locations of these devices.

- Delivery of proposals for the installation of devices that would collect and transmit data from measurements system and sensors to the system in the computer model.

- Providing the procurement specifications (technical specifications) for the purchase of measurements devices, sensors, data collection and transmission devices and other equipment for organizing the collecting of measured values of flow rates and temperatures in the HIPP Pancevo steam condensate system to the Zulu-based computer model.

- Development of the Technical assignment for further improvement of the computer model and its addition with real values of flows and temperatures of the existing steam condensate system of HIPP Pancevo.

- Final phase report.

- TECHNICAL REQUIREMENTS

The developed computer model should provide:

- Clearly defined number of production points of steam condensate, as well as the amount of produced condensate (minimal, nominal and maximal), based on computer model computations.

- Graphical representation of the steam condensate system for each object, with reference to the area of the facility.

- Passport information of objects for the production, transport and consumption of steam condensate.

- Up-to-date scheme for steam condensate system distribution.

- Updated list of all production points and consumers in steam condensate system, with maximal production / consumption capacities, with consideration of long-term development plans.

- Simulation of all types of switching and adjustments carried out in the system.

- Reconciliation of heat and mass balance in the steam condensate system.

- The possibility of continuous optimization of thermal and hydraulic modes of networks, considering changes in schemes and restrictions on producers and consumers.

- A computer model of the steam condensate system, with following information:

•	thermal and hydraulic parameters of the system;

•	heat losses calculations in all pipelines;

•	optimization plan of switching tasks (analysis of shutdowns, switching, searching for the nearest shut-off valve that disconnects a section from sources, or completely isolates a section, etc.)

•	plans for subsequent implementations of the model in Clients digitalisation projects.

- Formulation and overview of piezometric graphs for different modes of operation of steam system.

The deliverables for the work shall be a mathematical model (based on Zulu platform) of the existing steam condensate system of HIPP Pancevo and report that includes the following information:

•	Summary of the researched material for the study and conclusions / recommendations;

•	Identification of major areas of improvement;

•	Description for each potential improvement (measures) identified, including estimated economic improvement produced (both quantitative and qualitative terms, physical and monetary), estimated cost (Class V AACE) and comment on high level implementation schedule for the improvement, including estimates of the downtime of Clients facilities, needed for the implementation of improvements, based on analogous projects.

•	The effectiveness indicators of the measures must be no lower than PI 1.4 at a discount rate of 14%.

The proposed measures should ensure the reliable and efficient operation of the HIPP Pancevo steam / steam condensate system as a whole.

The proposed measures should be developed in accordance with the long-term development plan for HIPP Pancevo.

The measures being developed should not lead to an increase in the consumption of any fuel and energy resource. An increase in the consumption of any fuel and energy resource under certain measures is allowed, but compensating measures must be proposed to level out this increase.

The measures proposed as part of this work should not lead to a deterioration in the specific consumption of fuel and energy resources by HIPP factories, and also should not worsen similar indicators of HIPP in general.

Documentation must be submitted in hard copy in two hard file folders and in electronic form in one copy;

Requirements for electronic format:

•	An electronic copy of the documentation set is transferred to a USB drive in .tif and editable .dwg, WORD, and EXCEL formats;

•	The USB drive must be write-protected and have a label indicating the manufacturer and the name of the set.

•	A text file with the contents must be located in the root directory of the USB drive;

•	The composition and contents of the USB drive must correspond to the documentation set;

•	Each section of the set (report, volume, book, etc.) must be represented in a separate USB directory as a file (group of files) of the electronic document;

•	The directory name must match the partition name;

•	Files must open normally in view mode using the Windows 2000/XP/7 operating system. Use of file formats other than standard files is subject to additional approval;

•	All documents in electronic form must be in a format that allows editing, including inserted figures and graphs. Insertions in the form of metafiles are permitted only if the original materials are attached in separate files.

•	Tabular materials in Microsoft Excel format must be submitted in unprotected form with all calculation formulas, macros and links saved.

The Contractor will provide consultations to the Clients personnel regarding subsequent work with the models (within 1 year) after signing the act for Phase 4.

- CLIENTS RIGHTS, OBLIGATIONS, AND RESPONSIBILITIES

After signing a contract Client shall in due course provide the information required in paragraph 5, give access to facility locations in HIPP (Pančevo), review the deliverables produced by Service Provider, accept them or issue itemized list of deficiencies to be rectified. Client shall promptly execute payments for the accepted deliverables according to the payment milestones.

- CONTRACTORS RIGHTS, OBLIGATIONS, AND RESPONSIBILITIES

  - Service Provider shall provide required service in accordance with this Technical Assignment.

  - Service Provider shall provide final report in electronic form.

  - The documentation shall be developed by the Service Provider using text software: Microsoft Word, Microsoft Excel; for the graphic part: Microsoft Visio. All electronic documents shall be in a format that allows editing, including inserted figures and diagrams. Insertion in the form of metafiles is allowed only if the source materials are attached in separate files.

  - Tabular materials in Microsoft Excel format shall be presented in an unprotected form with all calculation formulas, macros and connections preserved.

  - All documentation shall be delivered in Russian and Serbian languages.

- BASIS FOR THE SERVICE COMMENCEMENT

Expected (approximate) service start date: 01.08.2026.

The Service may commence as soon as the Service Provider receives a letter of intentions from the Client.

Data exchange shall commence as soon as the NDA agreement is signed by both parties.

- SERVICE COMPLETION DEADLINE AND SCHEDULE

All of the services in the Phase 1 shall be delivered by the due date 30.09.2026.

All of the services in the Phase 2 shall be delivered by the due date 30.11.2026.

All of the services in the Phase 3 shall be delivered by the due date 30.06.2027.

All of the services in the Phase 4 shall be delivered by the due date 30.09.2027.

The Service Provider must deliver, along with the Bid for the relevant service, a detailed Timeline, considering the offered or required service delivery period. The Timeline shall define the length of all activities, clearly showing their interdependence.

- SERVICE QUALITY REQUIREMENTS AND METHOD OF QUALITY CONTROL

After receiving the preliminary report Client will have 10 business days for its review and will send list of deficiencies to be rectified, if any, after which Service Provider will rectify the above deficiencies within 15 calendar days and provide final report.

The quality of the Service will be assured by alignment of intermediate materials mentioned in article 5 and final report with the involved Client employees.

The Service Provider shall provide reports on the Services performed, on the basis of which acceptance certificates are issued.

Documentation shall be written in Russian and Serbian languages. All reporting documents shall be pre-agreed with the Client.

- REPORTING

Progress reporting shall be structured around clear agreements on frequency, methods, and format to ensure transparency and accountability.

Reports are required on a weekly basis during active phases of work, with monthly consolidated reports prepared for management review, and immediate reporting required for any critical incidents or deviations.

The methods of reporting should include:

- written reports delivered via email and

- scheduled review meetings either in-person or virtual.

Urgent issues must be reported immediately, outside the normal reporting cycle.

The format of progress reports follows standardized templates that include an executive summary of progress, a comparison of completed tasks versus planned tasks, key performance indicators, identified issues and risks with mitigation actions, and a section outlining next steps and upcoming milestones.

To enhance clarity, visual aids such as charts, tables, and Gantt updates may be incorporated as per Clients request.

- SERVICE ACCEPTANCE

The final report shall be accepted once the Client confirms that the report is complete, accurate, documented, validated, and actionable, and that it aligns with both technical and financial requirements outlined in Section 6.

- WARRANTY PERIOD

The required warranty period for the service delivered is 24 months.

The warranty period starts with the delivery and acceptance of final report, as defined with Section 6 in terms of content, and with Section 13 in terms of acceptance criteria.

During the warranty period, the Service Provider must eliminate all discrepancies and inconsistencies identified during the implementation of proposed measures. The Service Provider shall provide the necessary corrections of final report, at its own expense, within the time limits agreed by the parties during the warranty period.

- TECHNICAL QUALIFICATION CRITERIA

Technical Qualification Criteria (TQC) are the criteria that the Bidder must fulfil in order to gain the right to apply for the service procurement.

| No. | Technical qualification criteria | Supporting documents (proving fulfilment of TQCs) |
| --- | --- | --- |
| 1. | The contractor must have at least five qualified thermal power engineers on staff. | An extract from the company's organizational structure and specialist diplomas. |
| 2. | The contractor must have experience (at least two models of petrochemical plants or refineries over the past five years) in providing services for the development and technical support of mathematical models (of petrochemical facilities or refineries) of energy resource transportation systems, and the collection of initial data for the development of mathematical models on the Zulu platform, similar to the subject matter of the technical specifications. | Anonymized copies of contracts and technical assignments for completed projects. |

- PRICE – BILL OF QUANTITIES FOR MATERIALS AND WORK

| BILL OF QUANTITIES FOR MATERIALS AND WORKS / SERVICE SPECIFICATIONS |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| No. | Item description | Measurement unit | Quantity | Unit price | Total |
| 1. | Phase 1: Data collection and the survey of Clients documentation | set | 1 |  |  |
| 2. | Phase 2: The survey of steam condensate system at the site | set | 1 |  |  |
| 3. | Phase 3: The development of computer model of steam condensate system | set | 1 |  |  |
| 4. | Phase 4: Delivery of a set of recommendations for improvement (energy savings) of steam condensate system | set | 1 |  |  |
| Total: |  |  |  |  |  |

- HSE

17.1 Determination of the HSE risk level

| No. | Services | Taxonomy code | Taxonomy description | Risk assessment (L, M, H) |
| --- | --- | --- | --- | --- |
| 1. | Report and Feasibility Study 600003965 | 511200 | Execution of Feasibility Study | L (low) |

Final HSE risk level refers to the subject of procurement as a whole: Low risk (L);

17.2 Appointment of responsible persons in the process of "Contractor Management"

Directly responsible individual (DRI) shall be: Miroslav Jović, Energy Sector Manager.

The person responsible for coordinating and controlling the enforcement of the provisions of the Agreement on Occupational Health and Safety, Environmental Protection and Fire Protection in the Company, TFU – 328 to the Contract (HSE Officer) shall be: Vladimir Stefanović, Work safety, process safety and work protections Sector Manager.

- APPROVAL OF THE TECHNICAL ASSIGNMENT

Along with the bid, the contractor shall deliver a Statement, signed and stamped by the Contractor's authorised person, on acceptance of all terms and conditions defined herein.

- ADDITIONAL NOTES

Should the Bidder identify any deficiencies in the Technical Assignment and other tender documents, it must inform thereof the contact persons indicated in the Invitation for Bids, before the expiry of the deadline for bid submissions.

- APPENDICES

Annex 01: MPC sheet 1

Annex 02: MPC sheet 2

Annex 03: MPC sheet 3

Annex 04: MPC sheet 4

- APPROVERS – DiNIS

Table – Approvers of the Technical Assignment

| Responsible persons | Name and surname |
| --- | --- |
| Technical Assignment Author | Miroslav Jović |
| Technical Directorate Director | Denis Kulenchenko |
| HSE Officer | Vladimir Stefanović |