## Energy distribution
Language selection |  | English
Consumption by facilities and types of energy resources
№ | Consumer | Organization | Location | Connections | Type of energy
[5 empty] | Natural gas | Residual gas | Fuel gas (NG + RG) | Fuel oil | Pyrolitic oil | Rafinate II | Process gas | SH1 steam | SM1 steam | SL1 steam | SH2 steam | SSH2 steam | SM2 steam | SL2 steam | SM3 steam | SM4 steam | SL4 steam | SM5 steam | SL5 steam | C condensate | SCH condensate | SCM condensate | SCL condensate | HPC condensate | LPC condensate | FSK HPC condensate | FSK LPC condensate | FSK dirty condensate | Demineralized water | Decarbonised water | Cooling water | Raw water | Hot water for heating | Instrumentation air | Plant air
[5 empty] | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35
1 | Etilen | Production | Pancevo | Number of inputs | bar: 1 to 5; 8; 10 to 14; 21 to 23; 29 to 31; 34 to 35
Number of outputs | bar: 1 to 5; 8; 10 to 14; 21 to 23; 29 to 31; 34 to 35
Number of mixing points | bar: 1 to 5; 8; 10 to 14; 21 to 23; 29 to 31; 34 to 35
Number of production points | bar: 1 to 5; 8; 10 to 14; 21 to 23; 29 to 31; 34 to 35
2 | PEVG | Production | Pancevo | Number of inputs | 1: 1; 8: 1; 9: 1; 10: 1; 15: 1; 24: 0; 25: 0; 29: 2; 30: 0; 31: 1; 34: 1; 35: 1
|  |  |  | Number of outputs | 1: 0; 8: 0; 9: 0; 10: 0; 15: 0; 24: 1; 25: 1; 29: 2; 30: 0; 31: 1; 34: 0; 35: 0
|  |  |  | Number of mixing points | 1: 0; 8: 0; 9: 0; 10: 0; 15: 0; 24: 4; 25: 0; 29: 0; 30: 0; 31: 0; 34: 0; 35: 0
|  |  |  | Number of production points | 1: 0; 8: 0; 9: 0; 10: 0; 15: 0; 24: 14; 25: 13; 29: 0; 30: 0; 31: 0; 34: 0; 35: 0
3 | PENG | Production | Pancevo | Number of inputs | 8: 1; 9: 1; 10: 1; 16: 0; 17: 0; 20: 0; 24: 1; 25: 1; 29: 2; 30: 1; 31: 1; 34: 1; 35: 1
|  |  |  | Number of outputs | 8: 0; 9: 0; 10: 0; 16: 0; 17: 0; 20: 1; 24: 0; 25: 0; 29: 0; 30: 0; 31: 1; 34: 0; 35: 0
|  |  |  | Number of mixing points | 8: 0; 9: 2; 10: 0; 16: 0; 17: 0; 20: 0; 24: 2; 25: 2; 29: 2; 30: 0; 31: 0; 34: 0; 35: 0
|  |  |  | Number of production points | 8: 0; 9: 0; 10: 1; 16: 1; 17: 1; 20: 1; 24: 1; 25: 2; 29: 0; 30: 0; 31: 0; 34: 0; 35: 0
4 | Petroplast | Production | Pancevo | Number of inputs | 1: 1; 31: 0; 32: 1; 33: 0; 34: 0; 35: 0
|  |  |  | Number of outputs | 1: 0; 31: 0; 32: 0; 33: 0; 34: 0; 35: 0
|  |  |  | Number of mixing points | 1: 0; 31: 0; 32: 0; 33: 0; 34: 0; 35: 0
|  |  |  | Number of production points | 1: 0; 31: 2; 32: 0; 33: 1; 34: 1; 35: 1
5 | FSK | Production | Pancevo | Number of inputs | bar: 1; 6 to 7; 18 to 19; 26 to 28; 31 to 32; 34 to 35
Number of outputs | bar: 1; 6 to 7; 18 to 19; 26 to 28; 31 to 32; 34 to 35
Number of mixing points | bar: 1; 6 to 7; 18 to 19; 26 to 28; 31 to 32; 34 to 35
Number of production points | bar: 1; 6 to 7; 18 to 19; 26 to 28; 31 to 32; 34 to 35
5.1 | FSK - EXBD | Production | Elemir | Number of inputs | bar: 7
Number of outputs | bar: 7
Number of mixing points | bar: 7
Number of production points | bar: 7
5.2 | FSK - MTBE | Production | Elemir | Number of inputs | bar: 6
Number of outputs | bar: 6
Number of mixing points | bar: 6
Number of production points | bar: 6
5.3 | FSK - SBR | Production | Elemir | Number of inputs
Number of outputs
Number of mixing points
Number of production points
5.4 | Energetika | Support | Elemir | Number of inputs | bar: 1; 6 to 7
Number of outputs | bar: 1; 6 to 7
Number of mixing points | bar: 1; 6 to 7
Number of production points | bar: 1; 6 to 7
5.5 | MIGO | Support | Elemir | Number of inputs
Number of outputs
Number of mixing points
Number of production points
5.6 | IO | Support | Elemir | Number of inputs
Number of outputs
Number of mixing points
Number of production points
5.7 | Administracija | Administration | Elemir | Number of inputs
Number of outputs
Number of mixing points
Number of production points
5.8 | Laboratorija | Administration | Elemir | Number of inputs
Number of outputs
Number of mixing points
Number of production points
5.9 | Logistika | Administration | Elemir | Number of inputs
Number of outputs
Number of mixing points
Number of production points
5.10 | Ostali procesi | Administration | Elemir | Number of inputs
Number of outputs
Number of mixing points
Number of production points
6 | Energetika | Support | Pancevo | Number of inputs | 1: 1; 4: 1; 8: 2; 9: 0; 10: 0; 14: 1; 20: 2; 29: 0; 30: 0; 31: 4; 32: 2; 34: 0; 35: 0
|  |  |  | Number of outputs | 1: 0; 4: 1; 8: 2; 9: 1; 10: 1; 14: 1; 20: 0; 29: 2; 30: 4; 31: 2; 32: 0; 34: 1; 35: 1
|  |  |  | Number of mixing points | 1: 1; 4: 1; 8: 2; 9: 0; 10: 0; 14: 1; 20: 1; 29: 0; 30: 1; 31: 2; 32: 0; 34: 2; 35: 2
|  |  |  | Number of production points | 1: 0; 4: 0; 8: 1; 9: 1; 10: 1; 14: 0; 20: 1; 29: 1; 30: 1; 31: 1; 32: 0; 34: 1; 35: 1
7 | FOV | Support | Pancevo | Number of inputs | bar: 14; 30; 32; 34 to 35
|  |  |  | Number of outputs | 14: 0; 30: 0; 32: 0; 34: 0; 35: 0
|  |  |  | Number of mixing points | 14: 0; 30: 0; 32: 0; 34: 0; 35: 0
|  |  |  | Number of production points | 14: 0; 30: 0; 32: 0; 34: 0; 35: 0
8 | TS HIP2 | Support | Pancevo | Number of inputs
Number of outputs
Number of mixing points
Number of production points
9 | Odrzavanje | Support | Pancevo | Number of inputs | bar: 10; 35
|  |  |  | Number of outputs | 10: 0; 35: 0
|  |  |  | Number of mixing points | 10: 0; 35: 0
|  |  |  | Number of production points | 10: 0; 35: 0
10 | Laboratorija | Administration | Pancevo | Number of inputs | 10: 1; 20: 0; 31: 1; 35: 1
|  |  |  | Number of outputs | 10: 0; 20: 1; 31: 1; 35: 0
|  |  |  | Number of mixing points | 10: 0; 20: 0; 31: 0; 35: 0
|  |  |  | Number of production points | 10: 0; 20: 1; 31: 0; 35: 0
11 | Administracija | Administration | Pancevo | Number of inputs | 10: 2; 20: 0
|  |  |  | Number of outputs | 10: 0; 20: 1
|  |  |  | Number of mixing points | 10: 0; 20: 0
|  |  |  | Number of production points | 10: 0; 20: 2
Note on N69: Marina Franeta: ulaz od Etilena i ulaz od RNP
Note on Z69: Marina Franeta: 1409 i povratni kondenzat
Note on AK69: Marina Franeta: VCM, Etilenska strana, deka voda, flokulisana voda
Note on N70: Marina Franeta: Ka RNP i ka PHK
Note on AI70: Marina Franeta: Za nas i za PHK
Note on AJ70: Marina Franeta: Etilen, PEVG, PENG, FOV
Note on AK70: Marina Franeta: VCM i Etilenska strana
Note on G71: Marina Franeta: Postoji tačka mešanja sa otpadnim gasom sa Etilena, tu postoji merenje koliko ide otpadnog gasa (trenutno se ne koristi)
Note on N71: Marina Franeta: Etilen ima mogućnost da ubacuje SSH paru u naš sistem. Druga mogućnost je SH para od RNP
Note on Z71: Marina Franeta: Ono što ide u rezervoar hladnog
Note on AJ71: Marina Franeta: Tornjevi
Note on AK71: Marina Franeta: Deka i flokulisana voda
Note on AN71: Marina Franeta: Ovde kod nas i kod bočnih
Note on Z72: Marina Franeta: Tornjevi

## Energy classification
Language selection |  | English
Characteristics and types of energy fluids
Name of energy fluid | Fluid category | Production / Supplier | Consumers | Properites
Natural gas | Fuel | Transport gas Srbija | Etilen | Pressure
|  |  | PEVG | Temperature | AMB
|  |  | FSK | Heat value | 35.16 - 36.84 MJ/Nm3
|  |  | Energetika | Density | 0,7112 kg/Nm3
|  |  |  | Methane | 88.97 - 93.81 %vol
|  |  |  | Ethan | 3.02 - 7.32 %vol
|  |  |  | Propane | 0.26 - 1.40 %vol
|  |  |  | Nitrogen | 1.50 - 5.06 %vol
|  |  |  | Carbon dioxide | 0.33 - 1.14 %vol
|  |  |  | Hydrogen sulfide | 0.86 - 5.40 mg/l
Residual gas | Fuel | Etilen | Etilen | Heat value | 52.08 MJ/Nm3
|  |  |  | Hydrogen | 27.72 %mol
|  |  |  | Methane | 71.54 %mol
|  |  |  | Ethylene | 0.33 %mol
|  |  |  | Carbon monoxide | 0.44 %mol
Fuel gas (NG + RG) | Fuel | Etilen | Etilen | Heat value
Hydrogen
Methane
Ethylene
Carbon monoxide
Fuel oil | Fuel | NIS Rafinerija nafte Pančevo | Etilen | Heat value | min 40 MJ/kg
|  |  | Energetika | Ignition temperature | min 80 °C
|  |  |  | Flow temperautre | max 45 °C
|  |  |  | Kinematic viscosity at 100°C | 10 - 35 mm2/s
|  |  |  | Water and sediment content | max 1 % vol
|  |  |  | Ash content | max 0,2 % mas
|  |  |  | Carbon residue | max 16 % mas
Pyrolitic oil | Fuel | Etilen | Etilen | Heat value
|  |  |  | Density at 16°C | 1050 ±10 kg/m3
|  |  |  | Carbon/Hydrogen (mass ratio) | 9.5
|  |  |  | ASTM Distillation IBP 50% | 180 - 290 °C
|  |  |  | BCMI | min 125 °C
|  |  |  | Ignition temperature | min 80 °C
|  |  |  | Coke | max 15 % mas
|  |  |  | Total sulfur | max 0,05 % mas
|  |  |  | Water content | max 0,5 % mas
Rafinate II | Fuel | FSK | FSK | Heat value
|  |  |  | Density | 589 kg/m3
|  |  |  | Melting point / Freezing point | -185 to -105.5 °C
|  |  |  | Ignition temperature | < -56°C
|  |  |  | Relative vapor density | 0.555 - 0.616 g/cm³ na 20°C
|  |  |  | C4+ hydrocarbons | min 90 % (m/m)
|  |  |  | Methanol | max 5 % (m/m)
|  |  |  | MTBE | max 0,1 % (m/m)
|  |  |  | Vapor pressure at 40°C | 3,8 bar
|  |  |  | Total sulfur | max 5 ppm(m/m)
Process gas | Fuel | FSK | FSK | Heat value
Density
SH1 steam | Steam | Energetika | Etilen | Pressure | 34 - 38 bar(g)
|  |  | PEVG | Temperature | 330 - 350 °C
PENG
Energetika
SL1 steam | Steam | Energetika | PEVG | Pressure | 14,5 bar(g)
|  |  | PENG | Temperature | 220 °C
Energetika
SL1 steam | Steam | Energetika | Etilen | Pressure | 3,5 bar(g)
|  | Etilen | PEVG | Temperature | 148 °C
PENG
Energetika
Održavanje
Laboratorija
Administracija
SH2 steam | Steam | Etilen | Etilen | Pressure | 105 bar(g)
|  |  |  | Temperature | 315 °C
SSH2 steam | Steam | Etilen | Etilen | Pressure | 95 bar(g)
|  |  |  | Temperature | 442 °C
SM2 steam | Steam | Etilen | Etilen | Pressure | 19,5 bar(g)
|  |  |  | Temperature | 270 °C
SL2 steam | Steam | Etilen | Etilen | Pressure | 3,5 bar(g)
|  |  | Energetika | Temperature | 148 °C
FOV
SM3 steam | Steam | PEVG | PEVG | Pressure | 10,5 bar(g)
Temperature
SM4 steam | Steam | PENG | PENG | Pressure | 10,5 bar(g)
Temperature
SL4 steam | Steam | PENG | PENG | Pressure | 4,5 bar(g)
Temperature
SM5 steam | Steam | FSK | FSK | Pressure
Temperature
SL5 steam | Steam | FSK | FSK | Pressure
Temperature
C condensate | Condensate | Energetika | PENG | Pressure
|  |  | Energetika | Temperature
Laboratorija
Administracija
SCH condensate | Condensate | Etilen | Etilen | Pressure
Temperature
SCM condensate | Condensate | Etilen | Etilen | Pressure
Temperature
SCL condensate | Condensate | Etilen | Etilen | Pressure
Temperature
HPC condensate | Condensate | PEVG | PEVG | Pressure | 3,1 bar(g)
|  |  | PENG | Temperature | 125 °C
LPC condensate | Condensate | PEVG | PEVG | Pressure | 0,28 bar(g)
|  |  | PENG | Temperature | 95 °C
FSK HPC condensate | Condensate | FSK | FSK | Pressure
Temperature
FSK LPC condensate | Condensate | FSK | FSK | Pressure
Temperature
FSK dirty condensate | Condensate | FSK | FSK | Pressure
Temperature
Demineralized water | Water | Energetika | Etilen | Pressure
|  |  | PEVG | Temperature
PENG
Energetika
Decarbonised water | Water | Energetika | Etilen | Pressure
|  |  | PEVG | Temperature
PENG
Energetika
Cooling water | Water | Energetika | Etilen | Pressure
|  |  | PEVG | Temperature
PENG
Energetika
Raw water | Water | Energetika | Energetika | Pressure
|  |  | FOV | Temperature
Hot water for heating | Water | Petroplast | Petroplast | Pressure
Temperature
Instrumentation air | Air | Energetika | Etilen | Pressure
|  |  | PEVG | Temperature
PENG
Energetika
FOV
Plant air | Air | Energetika | Etilen | Pressure
|  |  | PEVG | Temperature
PENG
Energetika
FOV

## Translation
English | Serbian | Russian
Energy distribution
Consumption by facilities and types of energy resources | Potrošnja po fabrikama i vrstama enegije | Потребление по объектам и видам ТЭР
Consumer | Potrošač | Потребитель
Organization | Organizaciona podela | Подразделение
Production | Proizvodnja | Производство
Support | Podrška | Инфрастурктура
Administration | Administracija | Администрация
Location | Lokacija | Локация
Pancevo | Pančevo | Панчево
Elemir | Elemir | Елемир
Connections | Konekcije | Подключения
Number of inputs | Broj ulaza | Количество входов
Number of outputs | Broj izlaza | Количество выходов
Number of production points | Broj mesta proizvodnje | Количество точек генерации
Number of mixing points | Broj tački mešanja fluida | Количество точек смешения
Type of energy | Vrsta energije | Вид энергоресурса
Electricity | električna energija | электроэнергия
Natural gas | Prirodni gas | Природный газ
Residual gas | RG gas | RG газ
Fuel gas (NG + RG) | FG Loživi gas (NG + RG) | Газообразное топливо (NG + RG)
Fuel oil | Lož ulje (mazut) | Жидкое топливо (мазут)
Pyrolitic oil | Pirolitičko ulje | Жикое топливо (пиролитическое масло)
Rafinate II | Rafinat II | Рафинат II
Process gas | Procesni gas | Газообразное топливо (Off-gas ФСК)
SH1 steam | SH1 vodena para | SH1 пар
SM1 steam | SM1 vodena para | SM1 пар
SL1 steam | SL1 vodena para | SL1 пар
SH2 steam | SH2 vodena para | SH2 пар
SSH2 steam | SSH2 vodena para | SSH2 пар
SM2 steam | SM2 vodena para | SM2 пар
SL2 steam | SL2 vodena para | SL2 пар
SM3 steam | SM3 vodena para | SM3 пар
SM4 steam | SM4 vodena para | SM4 пар
SL4 steam | SL4 vodena para | SL4 пар
SM5 steam | SM5 vodena para | SM5 пар
SL5 steam | SL5 vodena para | SL5 пар
C condensate | C kondenzat | C конденсат
SCH condensate | SCH kondenzat | SCH конденсат
SCM condensate | SCM kondenzat | SCM конденсат
SCL condensate | SCL kondenzat | SCL конденсат
HPC condensate | HPC kondenzat | HPC конденсат
LPC condensate | LPC kondenzat | LPC конденсат
FSK HPC condensate | FSK HPC kondenzat | ФСК HPC конденсат
FSK LPC condensate | FSK LPC kondenzat | ФСК LPC конденсат
FSK dirty condensate | FSK zaprljan kondenzat | ФСК загрязненный конденсат
Demineralized water | Demineralizovana voda | Деминерализованная вода
Decarbonised water | Dekarbonisana voda | Декарбонизованная вода
Cooling water | Rashladna voda | Оборотная вода
Raw water | Sirova voda | Сырая вода
Hot water for heating | Topla voda za grejanje | Теплофикационная вода
Instrumentation air | Instrumentalni vazduh | воздух КИП
Plant air | Procesni vazduh | воздух технический
Energy classification
Characteristics and types of energy fluids | Karakteristike i vrste energetskih fluida | Характеристики и типы энергетических потоков
Name of energy fluid | Naziv energenta | Название энергетического потока
Fluid category | Kategorija energenta | Категория потока
Production / Supplier | Proizvođač / Isporučilac | Производство / Поставка
Consumers | Potrošači | Потребитель
Properites | Karakteristike | Характеристики
Fuel | Gorivo | Топливо
Steam | Vodena para | Пар
Condensate | Kondenzat | Конденсат
Water | Voda | Вода
Air | Vazduh | Воздух
Pressure | Pritisak | Давление
Temperature | Temperautra | Температура
Heat value | Donja toplotna vrednost | Теплотворная способность
Density | Gustina gasa | Плотность
Methane | Metan | Метан
Ethan | Etan | Этан
Propane | Propan | Пропан
Nitrogen | Azot | Азот
Carbon dioxide | Karbon-dioksid | Углекислый газ
Hydrogen sulfide | Vodonik sulfid | Сероводород
Hydrogen | Vodonik | Водород
Ethylene | Etilen | Этилен
Carbon monoxide | Ugljen-monoksid | Окись углерода
Ignition temperature | Tačka paljenja | Температура вспышки
Flow temperautre | Tačka tečenja | Температура застывания
Kinematic viscosity at 100°C | Kinematička vishoznost na 100°C | Кинематическая вязкость при 100°C
Water and sediment content | Sadržaj vode i taloga | Содержание воды и осадка
Ash content | Sadržaj pepela | Содержание золы
Carbon residue | Ugljenični ostatak | Углеродный остаток
Density at 16°C | Gustina na 16°C | Плотность при 16°C
Carbon/Hydrogen (mass ratio) | Ugljenik/vodonik (maseni odnos) | Углерод/Водород (массовое соотношение)
ASTM Distillation IBP 50% | ASTM destilacija IBP 50 % | ASTM Дистилляция IBP 50%
BCMI | BCMI | BCMI
Coke | Koks | Кокс
Total sulfur | Total sumpor | Сера
Water content | Voda | Содержание воды
Melting point / Freezing point | Tačka topljenja / tačka mržnjenja | Точка плавления/Точка замерзания
Relative vapor density | Gustina pare (vazduh=1) | Относительная плотность пара
C4+ hydrocarbons | C4+ ugljovodonik | C4+ углеводороды
Methanol | Metanola | Метанол
MTBE | MTBE | МТБЭ
Vapor pressure at 40°C | Pritisak pare na 40°C | Давление газа при 40°C